Lory Student Center Grand Ballroom

Mailing Address: Physical Address:

8033 Campus Delivery 1101 Center Ave.

Fort Collins, CO 80523 Fort Collins, CO 80523

**Dimensions:**

220’ 9” x 70’ 7”

15,580 sq ft

**Power:**

* Courtesy outlets on walls around room. No outlets on west windows.
* Two 200 Amp, 3-phase disconnects with camlock and lug options. Located in northeast closet and southwest closets.

**Trim Heights:**

* Projector in A (East) Ballroom 12’ 11”
* Bottom of Chandeliers 14’
* Airwall Track 14’ 3”
* Speakers 14’ 9”
* Lighting Positions 15’ 4”
* Fluorescent Pendants 15’ 7”
* Rigging Points 16’ 3”
* Max Ceiling 18’ 6”

**Lighting:**

* LED strips, fluorescent pendants, and chandeliers are all dimmable.
* Various lighting positions available (see diagram). Each position has two circuits on 2.4kw dimmers with stage pin receptacles. Each position has one non-dimmable circuit with Edison receptacle.
* Various leko and Fresnel fixtures are available.

**Audio:**

* House system is JBL Control 67 P/T pendant speakers.
* Mixing via BSS London Architect
* Additional sound systems are available.

**Video:**

* Christie WU12K-M WUXGA DLP Projectors, 11,550 lumens. Four projectors for north screens and a projector for east screen.
* 16’ x 9’ screens
* Crestron control
* Additional production and video switchers available.
* Canon XF305 and Sony BRCZ700 PTZ cameras available.
* Video Playback via DT Videolabs Playback Pro

**Rigging:**

* Various 500 lbs capacity points available. Points are at 16’ 3”. Rigging may hang in projected image.

**Contact:**

* Jason Rogien, Assistant Director for Event Services
* [Jason.rogien@colostate.edu](mailto:Jason.rogien@colostate.edu)
* 970-491-8728